#

# Information sheet Greenhouse constructionfor price calculation and ventilation plan with fans and tubes

* Project Name: …………………………………………
* Only ECO+ fans above the plants
* Only ECO+ fans and tubes below the plants
* ECO+ fans above and ECO+ fans and tubes below the plants

* Width of bays … meter
* Number of bays …
* Distance between posts … meter
* Number of post-bays …
* Height till roof gutter … meter
* Artificial light Yes or No
* Goal ventilation factor (minimal 1,5 or 2 or else) …

* Presence of path(s) Yes or No
* Where and width of mid path --- meter
* Space below the gutter and soil (minimal 65cm) --- cm
* Plan - drawing attached Yes or No
* Local mains frequency 50/60 Hz
* Local mains voltage - 1 phase (3 phase, only on request) … Vac
* Crop ……………..
* Cultivation method (in soil/gutters/containers) ……………..